Reece Martin,
Thea Demeler and
Borries Demeler
Introduction
The goal of this project is to produce, purify, and analyze by analytical ultracentrifuge (AUC), preparations of double-stranded DNA molecules of defined length, intended for use as AUC standards for the biopharmaceutical industry to validate AUC results. The double-stranded DNA samples are produced using E. coli containing the pPOL-I-208-12 plasmid, purified using anion exchange chromatography to isolate the supercoiled plasmid DNA, digested using EcoRI restriction enzyme to produce linear DNA fragments, and then characterized in the AUC.
Fig 1. Map of the pPOL-I-208-12 plasmid. Comprised of a 2811 bp pUC8 backbone and a 2496 bp insert, which contains 25 EcoRI restriction enzyme recognition sites.

---
Plasmid DNA Preparation
Fig 2. Flow chart depicting the process of plasmid DNA preparation, from glycerol stocks of E.Coli culture to resuspended nucleic acids.
Fig 3. 1% agarose gel of the material from the DNA preparation.

---
Development of Analytical
Ultracentrifugation Standards
Plasmid DNA Purification
The DNA preparation is then purified using anion exchange (AEX) chromatography, with a 5 mL HiTrap Q HP anion exchange column and an ÄKTA Prime Plus FPLC pump. A salt gradient of 70% over 70 mL is introduced with a 10mm Tris-HCl + 1M NaCl pH 8.06 elution buffer.
Fig 4. Anion exchange chromatogram from the FPLC pump displays absorbance in mAU plotted as a function of elution volume in mL. From 10 mg of nucleic acid loaded onto the column, the final, sharp peak corresponds to plasmid DNA, which has a peak volume of 5861.08 mAU·mL.

---
Restriction Enzyme Digestion
The pUC8 backbone is 2811 base-pairs in length, and the insert is 2496 base-pairs. Therefore, the pPOL-I-208-12 plasmid is 5307 base-pairs long, possesses circular topology, and contains twenty-five identical EcoRI restriction sites that are cut by the EcoRI restriction enzyme.
Once the double-stranded plasmid DNA has been purified using anion exchange chromatography (AEX), the DNA is digested using the EcoRI restriction enzyme at thirty-seven degrees Celsius for two hours using various amounts of the enzyme.
Fig 5. 1% agarose gel on the EcoRI digestion of the pPOL-I-208-12 plasmid. The smaller linear DNA fragments migrate further through the agarose gel matrix.

---
Department of Chemistry
and Biochemistry
University of Lethbridge
Lethbridge, Alberta, Canada
AUC Theory and Experiment Design
For our AUC experiment, we ran our EcoRI digested pPOL-I-208-12 plasmid samples at 35000 RPM at a temperature of 20°C for 13 hours.
Fig. 6 Experimental sedimentation profile data from the analytical ultracentrifuge is presented in yellow, and the simulated model data is in red.
An AUC sedimentation velocity experiment was used to determine the sedimentation coefficients, and relative concentrations of the various DNA fragments in the solution. The absorbance optical system of the instrument relies on the light-absorbing properties of DNA, which primarily absorbs light at a wavelength of 260 nm.

---
AUC Results
Fig. 7 Relative signal concentration of the various sized linear DNA fragments. Larger molecules (e.g. plasmid backbone & undigested plasmid) have a higher sedimentation coefficient than smaller molecules (insert DNA fragments).
Fig. 8 Sedimentation coefficient value distribution that has been corrected for diffusion effects. Boundary fraction percentage displays the relative concentration of each species along the boundary of each scan.