Reece Martin,
Owen Woycenko, and
Borries Demeler
Introduction
This project entails the hydrodynamic study of biological macromolecules in the solution phase, specifically on double-stranded DNA molecules as a biological system that can be purified and prepared in colloidal, aqueous solutions suitable for study by analytical ultracentrifugation (AUC).
The goal is to produce, purify, and analyze by AUC, preparations of double-stranded DNA molecules of defined length, intended for use as AUC standards for downstream applications in the biopharmaceutical industry to validate AUC results. The following sections will discuss the processes by which double-stranded DNA samples are produced using bacterial cultures containing the plasmid of interest, purified using anion exchange chromatography to isolate the supercoiled plasmid DNA, digested using Ava-I restriction enzyme to produce linear DNA fragments, and finally how they are separated based on the conformation state using gel-filtration or size exclusion chromatography.
At the current stage of this project, the goal is to achieve batch-to-batch reproducibility in the generation and purification of double-stranded DNA fragments.

---
Plasmid DNA Preparation
Double-stranded DNA samples are produced using bacterial cultures containing the plasmid of interest, pPOL-I-208-12, pictured below:
2L DNA preparations were used to replicate the pPOL-I-208-12 plasmid in E.coli bacterium. The plasmid possesses resistance to ampicillin, so ampicillin is added to the LB media to control the growth of other potential bacterial contaminants.
Once the culture grows to an optical density of 0.6, the preparation is centrifuged, treated with lysozyme, RNAse A, and various alkaline lysis solutions to extract the plasmid DNA from the bacterial cells. This also assists in removing contaminants such as DNA-binding proteins, RNA, lipids, and bacterial cell debris. The typical yield of these preparations is about 80 mg of nucleic acid, and 2.0 mg of plasmid DNA.

---
Development of Analytical
Ultracentrifugation Standards
Plasmid DNA Preparation Results
Using 0.1% agarose gel electrophoresis, the contents of the preparation are compared to the AvaI DNA ladder, which contains bands of known conformation and length. Crude extract consists of resuspended cell pellets from the preparation. Pre-IEX is crude extract that has been ethanol precipitated, and then clarified in a micro-centrifuge to remove any remaining cell-debris contaminants.
In terms of band profiles, the tightly-packed supercoiled plasmid DNA migrates the fastest as it experiences the least friction in the gel matrix. The linearized plasmid DNA migrates slower than the supercoiled plasmid DNA. The nicked-circular plasmid DNA, where the supercoiled conformation of the plasmid DNA has been broken, migrates at the slowest rate due to the comparatively larger friction it experiences in the gel matrix.

---
AEX Plasmid Purification
The preparation is then purified using anion exchange (AEX) chromatography, with a 5 mL HiTrap Q HP anion exchange column and an ÄKTA Prime Plus FPLC pump. A salt gradient of 70% over 70 mL is introduced with a 10mm Tris-HCl + 1M NaCl pH 8.06 elution buffer.
The chromatogram above displays absorbance in mAU plotted as a function of elution volume in mL. From 10 mg of nucleic acid loaded onto the column, the final, sharp peak corresponds to plasmid DNA, which has a peak volume of 5861.08 mAU*mL.
The gel image above displays the composition of the first four collected fractions of the plasmid DNA peak. The intensity of the bands on the gel displays a strong presence of supercoiled plasmid DNA. Through the technique of UV spectrophotometry they have been determined to have an average concentration of 12.885 μg/μL. Collectively, this corresponds to a plasmid DNA mass of 1288.5 μg for this AEX run.

---
Department of Chemistry and Biochemistry
University of Lethbridge
Lethbridge, Alberta, Canada T1K 3M4
Restriction Enzyme Digestion
The pUC8 backbone is 2811 base-pairs in length, and the insert is 2496 base-pairs. Therefore, the pPOL-I-208-12 plasmid is 5307 base-pairs long, possesses circular topology, and contains fourteen identical AvaI restriction sites that are cut by the AvaI restriction enzyme. This creates twelve 208-base pair fragments of linearized plasmid DNA, as well as a fifty-one base-pair fragment, and a 2760 base-pair fragment of the plasmid backbone.
Once the double-stranded plasmid DNA has been purified using anion exchange chromatography (AEX), the DNA is digested using the Ava-I restriction enzyme at thirty-seven degrees Celsius using various concentrations of the enzyme, the results of this are displayed in the gel image above. The smaller 208 base-pair monomeric fragments migrate faster than the larger n-meric fragments, as they experience less friction in the gel matrix.

---
Size Selection of DNA fragments
Once the mixtures of linearized plasmid DNA fragments have been produced from the AvaI restriction enzyme digests, the fragments are selected for size using gel filtration or size exclusion chromatography (SEC). Specifically a Sephacryl S-1000 Superfine column matrix with a XK 16/70 column, and a 100.5 mL column volume is used to isolate the pure monomer fragments, the pure dimer fragments, as well as the plasmid backbone.
The chromatogram above displays the elution profile of the 208 base-pair monomeric DNA fragments, and the pUC8 plasmid backbone, where absorbance in mAU is plotted as a function of elution volume in mL.
The gel image above displays the composition of fractions collected from the first SEC peak, which displays a strong presence of the 208 base-pair monomeric DNA fragments.
Acknowledgements: Dr. Borries Demeler, Amy Henrickson, and Owen Woycenko. Funded by Chinook Summer Research Award, and NSERC Undergraduate Summer Research Award.